## run_log
Start time (EDT) | Duration | Run no. | Run type | Beam | Beam energy | Target | Shifters | Comments (given at start of run, if not otherwise specified) | Triggers
2023-06-20 16:54:10 | 0:20:46 | 1 | CALIBRATION | 3a | - | P6 | EJ, LS, AA, JD, OT | 241Am (~1900 Hz) 244Cm (~428 Hz) 239Pu (~6371 Hz) -- source from 1987, rates corrected for half-life from safety office source log | PADS(0)
2023-06-20 17:15:37 | 0:09:56 | 2 | CALIBRATION | 3a | - | P3, P4 | EJ, LS, JD, OT |  | PADS(0)
2023-06-20 17:26:14 | 0:04:41 | 3 | CALIBRATION | 3a | - | P2 | EJ, LS, OT |  | PADS(0)
2023-06-21 16:01:52 | 0:47:08 | 4 | CALIBRATION | 3a | - | P1, U2 | EJ, JD, LS, OT | END-OF-RUN COMMENT BY EJ, JD, LS, OT: germaniums plugged in during run. may have to redo, but now a gamma source is placed close to the germaniums and we can record that as well | DET2(0), PADS(0)
2023-06-21 17:06:32 | 0:05:26 | 5 | CALIBRATION | 3a | - | P1 | EJ, AA, LS, OT |  | PADS(0)
2023-06-21 18:48:23 | 1:43:52 | 6 | CALIBRATION | 3a | - | U1, U2 | EJ, AA, LS, OT |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0)
2023-06-21 20:32:48 | 0:15:17 | 7 | CALIBRATION | 3a | - | U3, U4 | EJ, AA, LS, OT | END-OF-RUN COMMENT BY EJ, AA, LS, OT: forgot about gain, shaping time, pole zero. stopping | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0)
2023-06-21 21:37:56 | 0:19:40 | 8 | CALIBRATION | 3a | - | U1, U2 | EJ, AA, OT | All shapes except for germaniums have now been configured. See elog entry #51 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0)
2023-06-21 21:58:28 | 0:19:16 | 9 | CALIBRATION | 3a | - | U3, U4 | EJ, OT |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0)
2023-06-21 22:19:54 | 0:34:42 | 10 | CALIBRATION | 3a | - | U5 | EJ, OT |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0)
2023-06-21 22:56:13 | 0:22:09 | 11 | CALIBRATION | 3a | - | U6 | EJ, OT |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0)
2023-06-21 23:27:23 | 0:14:52 | 12 | PULSER | Pulser | - | U6 | EJ, OT | END-OF-RUN COMMENT BY EJ, OT: 3a source in chamber also, pointing at U6 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0)
2023-06-22 17:01:59 | 0:03:14 | 13 | CALIBRATION | 152Eu | - | HPGES | EJ, LS, JD, OT | Energy calibration. Source placed on top of chamber between two germaniums | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-22 17:20:16 | 0:37:22 | 14 | CALIBRATION | 152Eu | - | HPGES | EJ, LS, OT | Resuming energy calibration -- stopped briefly due to gas cell guys wanting to discuss iminent stable beam tuning. Source placed on top of chamber between two germaniums. EXTRA COMMENT 2.9 MINUTES INTO RUN BY EJ, LS, OT: Pulser had been left on throughout previous two germanium calibration runs | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-22 18:01:07 | 0:31:00 | 15 | CALIBRATION | 152Eu | - | HPGES | EJ, LS, OT | Increased the gain on the HPGE shaper to optimize the dynamic range to go roughly to 3 MeV. 121 keV 152Eu line is now equally intense in both detectors. | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-22 18:37:29 | 0:01:14 | 16 | TEST | - | - | - | EJ, OT | Lowered ADC thresholds to 10 on all channels on all modules to find individual ADC thresholds. END-OF- RUN COMMENT BY EJ, OT: Lowered ADC thresholds to 10 on all channels on all modules to find individual ADC thresholds. | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-22 19:19:56 | 0:00:19 | 17 | TEST | - | - | - | EJ, OT | Preliminary ADC thresholds set. Some still need a bit of tweaking END-OF- RUN COMMENT BY EJ, OT: Preliminary ADC thresholds set. Some still need a bit of tweaking | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-22 20:22:19 | N/A |  |  | - | - | - | EJ, LS, OT | IN-BETWEEN-RUN COMMENT: Disregard the previous run and the comments on it! The ADC thresholds were determined from unpacked data, and the unpacked data mixes up the channel orderings (by design)
2023-06-22 20:23:04 | 0:00:02 | 18 | CALIBRATION | Background | - | HPGES | EJ, LS, OT | Done optimizing ADC thresholds and trigger thresholds on all detectors. Starting a background run. END-OF- RUN COMMENT BY EJ, LS, OT: Done optimizing ADC thresholds and trigger thresholds on all detectors. Starting a background run. | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-22 20:23:21 | 0:23:26 | 19 | CALIBRATION | Background | - | HPGES | EJ, LS, OT | Done optimizing ADC thresholds and trigger thresholds on all detectors. Starting a background run. END-OF- RUN COMMENT BY EJ, LS, OT: Done optimizing ADC thresholds and trigger thresholds on all detectors. Starting a background run. | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-22 20:49:26 | N/A |  |  | - | - | - | EJ, LS, OT | IN-BETWEEN-RUN COMMENT: We refrain from leaving the germaniums unsupervised overnight. Stopping the background run
2023-06-23 16:27:35 | 0:01:55 | 20 | PULSER | Pulser | - | Silicons | CW, LS, JD, LW, MM, JSN, EJ, HF | EXTRA COMMENT 1.2 MINUTES INTO RUN BY CW, LS, JD, LW, MM, JSN, EJ, HF: TDC alignment run with pulser on all detectors. 1 kHz, Amplitude 0.2 V (1000), rise time 10 ns, tau 40 us. Delay between ch0 and ch1 16 ns. | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-23 16:37:10 | 0:49:29 | 21 | CALIBRATION | 152Eu | - | HPGES | CW, LS, JD, LW, MM, JSN, EJ, HF | Source on top of tube (to very high precision!) between two germaniums | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-23 17:27:56 | 16:27:51 | 22 | CALIBRATION | Background | - | HPGES | LS, LW, MM, JSN, EJ, HF | long run overnight | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-24 15:14:19 | 8:43:33 | 23 | CALIBRATION | Background | - | HPGES | MM, JSN, EJ, HF | EXTRA COMMENT 1.0 MINUTES INTO RUN BY MM, JSN, EJ, HF: work on network connectivity has been carried out and we are now resuming a background run on the germaniums (all triggers enabled) | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 00:00:24 | 0:11:54 | 24 | RUN | 25Al | 30 keV | C | EJ, CS, SS | Chandana and Stefan has optimised the beam to a point where they want to try to get it into the chamber. 26Si contimant in beam also. Our Faraday cup is in the chamber and is intended to stay there for the entire experiment. | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 00:27:48 | N/A |  |  | - | - | - | EJ, CS, SS | IN-BETWEEN-RUN COMMENT: Stopped the run after 12 minutes. We were looking specifically for gamma lines with energies 829 (26Si), 1611 (25Al) and 1622 (26Si) keV in our online analysis, as Stefan and Chandana have seen these lines in their gamma detector just after the mass separating magnet. The lines were not sufficiently intense in our gamma singles spectra. We can do beta-gated gammas on the recorded data offline tomorrow, give Stefan and Chandana a rough measure of the yield and then implement the offline analysis in our online analysis so we have this type of measure ready when 22Al comes around.
2023-06-25 09:58:45 | 8:57:10 | 25 | CALIBRATION | Background | - | - | JSN, HF, MM | Background run EXTRA COMMENT 20.3 MINUTES INTO RUN BY JSN, HF, MM: Background run END-OF-RUN COMMENT BY LS, EJ: Stop file to unbias and rebias germaniums due to remote control comms issue | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 19:14:53 | 1:57:09 | 26 | CALIBRATION | Background | - | - | LS, EJ, JSN | Background END-OF-RUN COMMENT BY LS, EJ, JSN: Background | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 22:00:30 | 0:44:41 | 27 | RUN | 21Mg | 30 keV | C | LS, EJ, JSN, CW, | EXTRA COMMENT 0.3 MINUTES INTO RUN BY LS, EJ, JSN, CW, HF: . | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 22:54:49 | 0:21:53 | 28 | RUN | 21Mg | 30 keV | C | LS, EJ, JSN, CW, HF | Beam optimised to estimated 500 pps inside chamber based on 335 keV gamma line | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 23:18:23 | 0:01:31 | 29 | RUN | 21Mg | 30 keV | C | LS, EJ, JSN, CW, HF | EXTRA COMMENT 0.3 MINUTES INTO RUN BY LS, EJ, JSN, CW, HF: measuring on 'beam off' END-OF-RUN COMMENT BY LS, EJ, JSN, CW, HF: measuring on 'beam off' | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 23:32:55 | 0:11:42 | 30 | RUN | 22Al | 30 keV | C | LS, EJ, JSN, CW, HF |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 23:44:44 | 0:05:30 | 31 | RUN | 22Al | 30 keV | C | LS, EJ, JSN, CW, HF | EXTRA COMMENT 1.4 MINUTES INTO RUN BY LS, EJ, JSN, CW, HF: trying to optimise on the chemistry of the gas cell. 22Al comes out with some multiple of water molecules attached. we go from 3 water molecules to four and see if it improves matters | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 23:50:31 | N/A |  |  | - | - | - | LS, EJ, JSN, CW, HF | IN-BETWEEN-RUN COMMENT: going from 4 water molecules to 5
2023-06-25 23:54:04 | 0:03:15 | 32 | RUN | 22Al | 30 keV | C | LS, EJ, JSN, CW, HF, LW, MM | EXTRA COMMENT 0.3 MINUTES INTO RUN BY LS, EJ, JSN, CW, HF, LW, MM: scratch that. going from 4 water molecules to 6 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-25 23:57:47 | N/A |  |  | - | - | - | LS, EJ, JSN, CW, HF, LW, MM | IN-BETWEEN-RUN COMMENT: trying aluminum oxide now -- mass 38
2023-06-25 23:58:01 | N/A |  |  | - | - | - | LS, EJ, JSN, CW, HF, LW, MM | IN-BETWEEN-RUN COMMENT: 'now' means 'in a minute'
2023-06-26 00:00:37 | 0:04:31 | 33 | RUN | 22Al | 30 keV | C | LS, EJ, JSN, CW, HF, LW, MM | aluminum oxide END-OF-RUN COMMENT BY LS, EJ, JSN, CW, HF, LW, MM: aluminum oxide | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 00:06:19 | N/A |  |  | - | - | - | LS, EJ, JSN, CW, HF, LW, MM | IN-BETWEEN-RUN COMMENT: trying with 'pure aluminum', mass 22, in a minute
2023-06-26 00:06:24 | 0:00:15 | 34 | RUN | 22Al | 30 keV | C | LS, EJ, JSN, CW, HF, LW, MM | END-OF-RUN COMMENT BY LS, EJ, JSN, CW, HF, LW, MM: bad run | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 00:07:25 | 0:01:19 | 35 | RUN | 22Al | 30 keV | C | LS, EJ, JSN, CW, HF, LW, MM | trying with 'pure aluminum', mass 22, in a minute END-OF-RUN COMMENT BY LS, EJ, JSN, CW, HF, LW, MM: trying with 'pure aluminum', mass 22, in a minute | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 00:11:22 | N/A |  |  | - | - | - | LS, EJ, JSN, CW, HF, LW, MM | IN-BETWEEN-RUN COMMENT: 22Al yields were at its maximum with roughly 0.5 pps during [Al + 3 water molecules + 1 Hydrogen]. We switch to 21Mg for the night -- we saw an estimated 500 pps previously. Will be good for telescope and germanium calibrations.
2023-06-26 00:11:40 | 0:02:36 | 36 | RUN | 21Mg | 30 keV | C | LS, EJ, JSN, CW, HF, LW, MM |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 00:14:23 | N/A |  |  | - | - | - | LS, EJ, JSN, CW, HF, LW, MM | IN-BETWEEN-RUN COMMENT: bad run
2023-06-26 00:14:30 | 7:23:03 | 37 | RUN | 21Mg | 30 keV | C | LS, EJ, JSN, CW, HF, LW, MM |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 07:38:36 | 0:58:09 | 38 | CALIBRATION | 21Mg | 30 keV | C | LW, MM | We run background while Chandanna optimizes 22Al in cryo gass cell END-OF-RUN COMMENT BY LW, MM: We run background while Chandanna optimizes 22Al in cryo gass cell | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 08:37:30 | 0:09:10 | 39 | RUN | 21Mg | 30 keV | C | EJ, JD, HF | aluminum with 3 water EXTRA COMMENT 0.3 MINUTES INTO RUN BY EJ, JD, HF: aluminum with 3 water. beam is 22Al! END-OF-RUN COMMENT BY EJ, JD, HF: aluminum with 3 water. beam is 22Al! | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 09:00:43 | 0:06:56 | 40 | RUN | 22Al | 30 keV | C | EJ, JD, HF |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 09:36:46 | 0:34:14 | 41 | CALIBRATION | Background | - | - | EJ, JD, HF, AA | background while Chandana and co. tune on the cryogenic gas cell END- OF-RUN COMMENT BY EJ, JD, HF, AA: background while Chandana and co. tune on the cryogenic gas cell | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 10:27:20 | 0:57:34 | 42 | CALIBRATION | Background | - | - | EJ, JD, HF, AA | background while Chandana and co. tune on the cryogenic gas cell. had to disconnect network briefly, resuming END-OF-RUN COMMENT BY EJ, JD, HF, AA: background while Chandana and co. tune on the cryogenic gas cell. had to disconnect network briefly, resuming | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 14:16:00 | 0:11:52 | 43 | CALIBRATION | Background | - | - | EJ, JD, HF, AA, LS, JSN, CW |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 14:28:01 | 0:24:17 | 44 | RUN | 21Mg | 30 keV | C | EJ, JD, HF, AA, LS, JSN, CW | EXTRA COMMENT 24.3 MINUTES INTO RUN BY EJ, JD, HF, AA, LS, JSN, CW: beam tuning throughout END-OF-RUN COMMENT BY EJ, JD, HF, AA, LS, JSN, CW: beam tuning throughout | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 14:55:09 | N/A | 45 | RUN | 22Al | 30 keV | C | EJ, JD, HF, AA, LS, JSN, CW | 22Al out of the cryogenic gas cell (previously the room temp gas cell) at mass 22 -- no water molecules or similar | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 15:24:21 | N/A |  |  | - | - | - | EJ, JD, HF, AA, LS, JSN, CW | IN-BETWEEN-RUN COMMENT: lost power on the PC running the data taking - file may have been corrupted
2023-06-26 15:26:20 | 0:14:04 | 46 | RUN | 22Al | 30 keV | C | EJ, JD, HF, AA, LS, JSN, CW | EXTRA COMMENT 0.1 MINUTES INTO RUN BY EJ, JD, HF, AA, LS, JSN, CW, MM: . | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 15:40:53 | 1:33:23 | 47 | RUN | 22Al | 30 keV | C | EJ, JD, HF, AA, LS, JSN, CW, MM | EXTRA COMMENT 32.0 MINUTES INTO RUN BY EJ, JD, HF, AA, LS, JSN, CW, MM: At 30 min in this file (16:12 local time, 22:12 DK time) Chandanna is checking the yield, therefore drop in rate | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 17:14:36 | 1:07:58 | 48 | RUN | 22Al | 30 keV | C | EJ, HF, LS, JSN, CW |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 18:22:48 | 1:44:54 | 49 | RUN | 22Al | 30 keV | C | EJ, HF, LS, JSN |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 20:07:48 | 0:19:21 | 50 | RUN | 22Al | 30 keV | C | EJ, MM, LS, JSN |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 20:29:11 | 1:29:20 | 51 | RUN | 22Al | 30 keV | C | EJ, LS, JSN |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 21:58:40 | 0:06:27 | 52 | RUN | 22Al | 30 keV | C | EJ, LS, JSN | END-OF-RUN COMMENT BY EJ, LS, JSN: cavity tripped, few minutes to fix, stopping | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 22:24:30 | 1:31:13 | 53 | CALIBRATION | Background | - | - | EJ, LS, JSN | background run EXTRA COMMENT 5.2 MINUTES INTO RUN BY EJ, LS, JSN: someone has to come in and look at fixing the tripped cavity - he will arrive in 30 minutes, and the beam should be back shortly after that -- message from beam ops END-OF-RUN COMMENT BY EJ, LS, JSN: someone has to come in and look at fixing the tripped cavity - he will arrive in 30 minutes, and the beam should be back shortly after that -- message from beam ops | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-26 23:56:55 | 0:01:05 | 54 | CALIBRATION | Background | - | - | EJ, LS, LW, HF |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 00:00:30 | 1:18:18 | 55 | RUN | 22Al | 30 keV | C | EJ, LS, LW, HF |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 01:19:24 | 4:30:28 | 56 | CALIBRATION | Background | - | - | EJ, LS, LW, HF | EXTRA COMMENT 0.2 MINUTES INTO RUN BY EJ, LS, LW, HF: short stop | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 05:50:17 | 3:35:26 | 57 | RUN | 22Al | 30 keV | C | HF, LW | beam back after 4-5 h break END-OF- RUN COMMENT BY HF, LW: beam off at 06.17 for a short while | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 09:25:57 | 2:40:31 | 58 | RUN | 22Al | 30 keV | C | HF, LW | Restart after 3 hours EXTRA COMMENT 0.4 MINUTES INTO RUN BY JSN, JD, CW, MM: Restart after 3 hours END-OF-RUN COMMENT BY JSN, JD, CW, MM: Restart after 3 hours | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 12:06:42 | 0:12:33 | 59 | RUN | 22Al | 30 keV | C | JSN, JD, CW, MM | Restart after 2.4 hours EXTRA COMMENT 0.1 MINUTES INTO RUN BY JSN, JD, CW, MM: Restart after 2.4 hours END-OF-RUN COMMENT BY JSN, JD, CW, MM: Beam stopped | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 12:19:35 | 0:34:19 | 60 | RUN | 22Al | 30 keV | C | JSN, JD, CW, MM | EXTRA COMMENT 0.6 MINUTES INTO RUN BY JSN, HF, MM: Restart immediatly after beam loss to measure daughters END-OF-RUN COMMENT BY JSN, HF, MM: Restart immediatly after beam loss to measure daughters | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 12:54:06 | 0:45:11 | 61 | RUN | 22Al | 30 keV | C | JSN, HF, MM | We have beam again END-OF-RUN COMMENT BY JSN, HF, MM: We have beam again | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 13:39:42 | 0:37:17 | 62 | CALIBRATION | Background | - | - | JSN, HF, MM | No Beam END-OF-RUN COMMENT BY JSN, HF, MM: No Beam | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 14:17:19 | 2:34:20 | 63 | RUN | 22Al | 30 keV | C | JSN, HF, MM | Beam has returned END-OF-RUN COMMENT BY JSN, HF, MM: Beam has returned | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 16:51:52 | 4:04:47 | 64 | RUN | 22Al | 30 keV | C | JSN, HF, MM |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 20:56:48 | 1:19:44 | 65 | RUN | 22Al | 30 keV | C | LS, EJ | EXTRA COMMENT 30.9 MINUTES INTO RUN BY LS, EJ: NOTE ON RUN 064: There may have been a small spike or three in triggers somewhere between 20:30 and 21:00 as bias was briefly turned off on all channels of the bias module containing P6, U5 and U6 due to some RC issues | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 22:16:56 | 0:00:27 | 66 | RUN | 22Al | 30 keV | C | LS, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 22:17:34 | 0:09:51 | 67 | RUN | 22Al | 30 keV | C | LS, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 22:29:13 | 1:05:25 | 68 | RUN | 22Al | 30 keV | C | LS, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 23:34:46 | N/A | 69 | RUN | 22Al | 30 keV | C | LS, EJ | EXTRA COMMENT 0.1 MINUTES INTO RUN BY LS, EJ, LW: . | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-27 23:47:17 | 1:02:05 | 70 | RUN | 22Al | 30 keV | C | LS, EJ, LW |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 00:49:52 | N/A | 71 | RUN | 22Al | 30 keV | C | LS, EJ, LW |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 01:01:22 | N/A | 72 | RUN | 22Al | 30 keV | C | LW, JSN |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 02:40:15 | 3:08:41 | 73 | RUN | 22Al | 30 keV | C | LW, JSN | Restarting after regaining access to AU services. DAQ also crashed (?) END-OF-RUN COMMENT BY LW, JSN: Restarting after regaining access to AU services. DAQ also crashed (?) | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 05:49:40 | 2:22:46 | 74 | RUN | 22Al | 30 keV | C | LW, JSN | Restarting run after 3 hours without incident END-OF-RUN COMMENT BY LW, JSN: Restarting run after 3 hours without incident | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 08:13:09 | 4:27:35 | 75 | CALIBRATION | Background | - | - | LW, JSN | Beginning to switch beams END-OF-RUN COMMENT BY LW, JSN: Beginning to switch beams | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 12:41:42 | 0:05:34 | 76 | RUN | 28P | 30 keV | C | LW, JSN |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 12:47:42 | 1:26:46 | 77 | CALIBRATION | Background | - | - | LW, JSN |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 14:14:57 | N/A |  |  | - | - | - | HF, MM, CW, EJ | IN-BETWEEN-RUN COMMENT: stopping background run to optimise trigger thresholds (and maybe ADC thresholds)
2023-06-28 15:08:32 | 1:38:31 | 78 | CALIBRATION | Background | - | - | HF, MM, CW, EJ, JD |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 16:47:14 | 0:25:21 | 79 | RUN | 26P | 30 keV | C | HF, MM, CW, EJ, JD |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 17:12:54 | N/A |  |  | - | - | - | HF, MM, CW, EJ, JD | IN-BETWEEN-RUN COMMENT: Pure 26P -- mass 26 -- in run 079
2023-06-28 17:13:52 | N/A |  |  | - | - | - | HF, MM, CW, EJ, JD | IN-BETWEEN-RUN COMMENT: 26P oxide -- mass 42 -- up next
2023-06-28 17:15:59 | 0:03:27 | 80 | RUN | 26P | 30 keV | C | HF, MM, CW, EJ, JD |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 17:19:58 | 0:19:11 | 81 | RUN | 26P | 30 keV | C | HF, MM, CW, EJ, JD |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 17:41:34 | N/A |  |  | - | - | - | HF, MM, CW, EJ, JD | IN-BETWEEN-RUN COMMENT: previous run was PO (mass 42), next run will be PO2 (mass 58)
2023-06-28 17:44:33 | 0:10:39 | 82 | RUN | 26P | 30 keV | C | HF, MM, CW, EJ, JD |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 17:56:48 | N/A |  |  | - | - | - | HF, MM, CW, EJ, JD | IN-BETWEEN-RUN COMMENT: going back to PO (highest rate) while we assess the purity (25Si contamination risk) in offline analyses
2023-06-28 18:00:48 | N/A |  |  | - | - | - | HF, MM, CW, EJ, JD | IN-BETWEEN-RUN COMMENT: scrath that -- we are doing SiO2 (mass 57) to have an actual signature of a potential contaminant. for 10 minutes.
2023-06-28 18:01:07 | 0:05:15 | 83 | RUN | 25Si | 30 keV | C | HF, MM, CW, EJ, JD |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 18:06:45 | N/A |  |  | - | - | - | HF, MM, CW, EJ, JD | IN-BETWEEN-RUN COMMENT: NOW we go back to PO (highest rate) while we assess the purity (25Si contamination risk) in offline analyses
2023-06-28 18:10:44 | 0:01:04 | 84 | RUN | 26P | 30 keV | C | HF, MM, CW, EJ, LS | PO mass 42 END-OF-RUN COMMENT BY HF, MM, CW, EJ, LS: PO mass 42 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 18:11:54 | 0:11:08 | 85 | RUN | 26P | 30 keV | C | HF, MM, CW, EJ, LS | PO mass 42 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 18:23:10 | 1:18:12 | 86 | RUN | 26P | 30 keV | C | HF, MM, CW, EJ, LS |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 19:41:29 | 1:16:01 | 87 | RUN | 26P | 30 keV | C | HF, MM, CW, EJ, LS |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 20:57:40 | 1:18:48 | 88 | RUN | 26P | 30 keV | C | HF, MM, CW, EJ, LS |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-28 22:16:39 | 1:48:24 | 89 | RUN | 26P | 30 keV | C | HF, MM, JSN | EXTRA COMMENT 108.3 MINUTES INTO RUN BY HF, MM, JSN: From 21:30 to 00:00 on June 29th (EDT time zone) trigger rates in U1 and U2 continually got larger to the point where it leaked into our accepted trigger rates. It has sorted itself out, seemingly, around 00:00. Should keep an eye on it END-OF-RUN COMMENT BY HF, MM, JSN: From 21:30 to 00:00 on June 29th (EDT time zone) trigger rates in U1 and U2 continually got larger to the point where it leaked into our accepted trigger rates. It has sorted itself out, seemingly, around 00:00. Should keep an eye on it | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 00:05:09 | N/A | 90 | RUN | 26P | 30 keV | C | HF, MM, JSN | From 21:30 to 00:00 on June 29th (EDT time zone) trigger rates in U1 and U2 continually got larger to the point where it leaked into our accepted trigger rates. | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 02:17:25 | 0:47:57 | 91 | RUN | 26P | 30 keV | C | LW, LS, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 03:06:03 | N/A |  |  | - | - | - | LW, LS, EJ | IN-BETWEEN-RUN COMMENT: beam control having a bit of trouble with one of their dipoles. 'will be just a few minutes'
2023-06-29 03:24:56 | 2:02:15 | 92 | RUN | 26P | 30 keV | C | LW, LS, EJ | EXTRA COMMENT 3.5 MINUTES INTO RUN BY LW, LS, EJ: beam is back | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 05:27:19 | N/A | 93 | RUN | 26P | 30 keV | C | LW, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 06:14:29 | 0:59:22 | 94 | RUN | 26P | 30 keV | C | LW, EJ | brief daq outage | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 07:14:00 | 1:13:45 | 95 | RUN | 26P | 30 keV | C | LW, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 08:28:02 | 0:02:31 | 96 | RUN | 26P | 30 keV | C | JSN, JD | Starting new run after 75 min | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 08:32:01 | 1:15:01 | 97 | RUN | 26P | 30 keV | C | JSN, JD |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 09:53:56 | 1:05:02 | 98 | RUN | 25Si | 30 keV | C | JSN, JD, HF, CW | Taking mass 57 (25Si + 2*O) for background measurement END-OF-RUN COMMENT BY JSN, JD, HF, CW: Taking mass 57 (25Si + 2*O) for background measurement | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 10:59:08 | 1:00:01 | 99 | RUN | 25Si | 30 keV | C | JSN, JD, HF, CW | Taking mass 57 (25Si + 2*O) for background measurement END-OF-RUN COMMENT BY JSN, JD, HF, CW: Taking mass 57 (25Si + 2*O) for background measurement | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 11:59:21 | 1:00:01 | 100 | RUN | 25Si | 30 keV | C | JSN, JD, HF, CW | Taking mass 57 (25Si + 2*O) for background measurement END-OF-RUN COMMENT BY JSN, JD, HF, CW: Taking mass 57 (25Si + 2*O) for background measurement | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 12:59:30 | 0:55:04 | 101 | RUN | 25Si | 30 keV | C | JSN, JD, HF, CW | Taking mass 57 (25Si + 2*O) for background measurement END-OF-RUN COMMENT BY JSN, JD, HF, CW: Ending 25Si run | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 14:05:14 | 0:57:34 | 102 | RUN | 27S | 30 keV | C | JSN, JD, HF, CW | Taking 27S at mass 43 END-OF-RUN COMMENT BY JSN, JD, HF, CW: Taking 27S at mass 43 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 15:07:30 | 1:05:51 | 103 | RUN | 26P | 30 keV | C | JSN, JD, HF, CW | Back to taking 26P at mass 42 END- OF-RUN COMMENT BY JSN, JD, HF, CW: Back to taking 26P at mass 42 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 16:13:46 | 1:02:26 | 104 | RUN | 26P | 30 keV | C | JSN, JD, HF, CW | Restarting file to do yield analysis END-OF-RUN COMMENT BY JSN, JD, HF, CW: Restarting file to do yield analysis | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 17:16:21 | 1:05:13 | 105 | RUN | 26P | 30 keV | C | JSN, JD, HF, CW | Restarting file to do yield analysis END-OF-RUN COMMENT BY JSN, JD, HF, CW: Restarting file to do yield analysis | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 18:21:41 | 1:00:02 | 106 | RUN | 26P | 30 keV | C | JSN, JD, HF, CW | Restarting file to do yield analysis | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 19:21:52 | 1:00:01 | 107 | RUN | 26P | 30 keV | C | HF |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 20:22:02 | 1:00:06 | 108 | RUN | 26P | 30 keV | C | HF |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 21:22:16 | 1:00:02 | 109 | RUN | 26P | 30 keV | C | HF |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 22:22:25 | 1:00:02 | 110 | RUN | 26P | 30 keV | C | HF |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 23:22:34 | N/A | 111 | RUN | 26P | 30 keV | C | HF |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 23:48:25 | N/A |  |  | - | - | - | HF | IN-BETWEEN-RUN COMMENT: previous run not gracefully stopped due to vpn drop
2023-06-29 23:48:36 | N/A |  |  | - | - | - | HF | IN-BETWEEN-RUN COMMENT: previous run not gracefully stopped due to vpn drop -- run 111
2023-06-29 23:48:39 | 0:02:11 | 112 | RUN | 26P | 30 keV | C | HF | EXTRA COMMENT 0.2 MINUTES INTO RUN BY AA, TW, EJ: . | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-29 23:50:57 | 1:13:12 | 113 | RUN | 26P | 30 keV | C | AA, TW, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 01:04:17 | 1:07:20 | 114 | RUN | 26P | 30 keV | C | AA, TW, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 02:11:52 | 1:11:25 | 115 | RUN | 26P | 30 keV | C | LW, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 03:23:28 | 0:58:50 | 116 | RUN | 26P | 30 keV | C | LW, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 04:22:43 | 1:10:30 | 117 | RUN | 26P | 30 keV | C | LW, EJ |  | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 05:33:21 | 1:14:01 | 118 | RUN | 26P | 30 keV | C | LW, EJ | END-OF-RUN COMMENT BY LW, EJ: final radioactive beam of the experiment. measuring on the beam off part as well. Friday June 30th at 6:45 am beam is off | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 08:22:49 | N/A | 119 | CALIBRATION | Background | - | - | HF, EJ | Background, only with germanium trigger. Foil removed from chamber | HPGE(0)
2023-06-30 08:25:09 | 1:01:02 | 120 | CALIBRATION | Background | - | - | HF, EJ | Background, only with germanium trigger. Foil removed from chamber EXTRA COMMENT 0.2 MINUTES INTO RUN BY HF, EJ: Run 119 is bad | HPGE(0)
2023-06-30 10:02:14 | 1:28:49 | 121 | CALIBRATION | 152Eu | - | HPGES | HF, EJ | 152Eu efficiency calibration. Placed as close to implantation point as possible END-OF-RUN COMMENT BY HF, EJ: 152Eu efficiency calibration. Placed as close to implantation point as possible | HPGE(0)
2023-06-30 11:56:16 | 0:36:30 | 122 | CALIBRATION | 226Ra | - | HPGES | JSN, JD, EJ | 226Ra gamma calibration END-OF-RUN COMMENT BY JSN, JD, EJ: 226Ra gamma calibration | HPGE(0)
2023-06-30 12:58:05 | 0:03:27 | 123 | PULSER | - | - | Silicons | JSN, JD, EJ, HF | ramping pulser sequence from 'zero' to ADC channel 700~1000 END-OF-RUN COMMENT BY JSN, JD, EJ, HF: ramping pulser sequence from 'zero' to ADC channel 700~1000 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0)
2023-06-30 13:41:59 | 0:15:05 | 124 | CALIBRATION | 3a | - | U6 | JSN, JD, LS, AA, HF | 3a source calibration of U6 END-OF- RUN COMMENT BY JSN, JD, LS, AA, HF: 3a source calibration of U6 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 13:57:54 | 0:08:32 | 125 | CALIBRATION | 3a | - | U3, U4 | JSN, JD, LS, AA, HF | 3a source calibration of U3,U4 END- OF-RUN COMMENT BY JSN, JD, LS, AA, HF: 3a source calibration of U3,U4 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 14:06:44 | 0:25:36 | 126 | CALIBRATION | 3a | - | U3, U4 | JSN, JD, LS, AA, HF | 3a source calibration of U3,U4, restart because stopped writing to file END-OF-RUN COMMENT BY JSN, JD, LS, AA, HF: 3a source calibration of U3,U4, restart because stopped writing to file | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 14:32:52 | N/A | 127 | CALIBRATION | 3a | - | U5 | JSN, JD, LS, AA, HF | 3a source calibration of U5 EXTRA COMMENT 10.9 MINUTES INTO RUN BY JSN, JD, LS, AA, HF: 3a source calibration of U5 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-06-30 14:51:41 | 0:18:32 | 128 | CALIBRATION | 3a | - | U1, U2 | JSN, JD, LS, AA, HF | 3a source calibration of U1, U2 END- OF-RUN COMMENT BY JSN, JD, LS, AA, HF: 3a source calibration of U1, U2 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-07-01 09:55:54 | 0:08:35 | 129 | CALIBRATION | 3a | - | P1, P2 | JSN, HF, EJ | 3a source calibration of P1, P2 END- OF-RUN COMMENT BY JSN, HF, EJ: 3a source calibration of P1, P2 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-07-01 10:06:01 | 0:07:14 | 130 | CALIBRATION | 3a | - | P3, P4 | JSN, HF, EJ | 3a source calibration of P3, P4 END- OF-RUN COMMENT BY JSN, HF, EJ: 3a source calibration of P3, P4 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)
2023-07-01 11:08:39 | 0:07:00 | 131 | CALIBRATION | 3a | - | P6 | JSN, HF, EJ | 3a source calibration of P6 END-OF- RUN COMMENT BY JSN, HF, EJ: 3a source calibration of P6 | DET1(0), DET2(0), DET3(0), DET4(0), DET5(0), DET6(0), PADS(0), HPGE(0)